## Slide 1: Development of MRI T2* Mapping Model for N-Periodic ka-SPGR Sequence:
MEng Individual Project Presentation
Yifei Jin
A Promising Technique for Parkinson’s Disease Biomarker Detection

## Slide 2
Development of MRI T2* Mapping Model for N-Periodic ka-SPGR Sequence:
A Promising Technique for Parkinson’s Disease Biomarker Detection
Background introduction
Theory
N-periodic ka-SPGR
Computer simulation
Method
Result
Practical MRI scan
Method
Result
Conclusion and Limitations
Q & A
Overview…

## Slide 3
Development of MRI T2* Mapping Model for N-Periodic ka-SPGR Sequence:
A Promising Technique for Parkinson’s Disease Biomarker Detection
Background introduction
Theory
N-periodic ka-SPGR
Computer simulation
Method
Result
Practical MRI scan
Method
Result
Conclusion and Limitations
Q & A
Overview…

## Slide 4
Background introduction
Parkinson’s Disease
Excess iron at Substantia Nigra (SN)
Quantitative R2* images of SN
Healthy control T2* | PD patient T2*
53 ms | 13 ms
Brammerloh, Malte et al.(2021) [1]
MRI time constant T2* as an effective biomarker
R2*
Notes: Parkinson’s Disease Early detection  aid treatment development & tracks disease development
Excessive iron at SN, midbrain
T2*, tissue and field inhomogeneities dependent time constant
An effective biomarker.
How we get the time constant

## Slide 5
Background introduction
Gold-standard T2* mapping technique
What is T2*?
Signal Intensity (SI)
Time
Multi-echo spoiled gradient recall
(multi-echo SPGR)
TE = a
TE = b
TE = a
TE = b
repeat…
Notes: MRI signal, brief
TE, TR
Signal collected in Fourier space, and inverse fourier transform to reconstruct the true signal and get the image.
Signal decay with T2*
Multiple acquisitions, at different TE

## Slide 6
Background introduction
Gold-standard T2* mapping technique
What is T2*?
Signal Intensity (SI)
Time
Multi-echo spoiled gradient recall
(multi-echo SPGR)
TE = a
TE = b
TE = a
TE = b
repeat…
Motion artefact
Possible solution:
N-periodic ka-SPGR
Holdsworth, S. J et al. (2016) [2]
Notes: The problem, motion artefact  cerebellum fluid flow, cardiac cycle
Not directly getting the decayed signal, build the signal using component from each acquisition.

## Slide 7
Development of MRI T2* Mapping Model for N-Periodic ka-SPGR Sequence:
A Promising Technique for Parkinson’s Disease Biomarker Detection
Background introduction
Theory
N-periodic ka-SPGR
Computer simulation
Method
Result
Practical MRI scan
Method
Result
Conclusion and Limitations
Q & A
Overview…

## Slide 8
Theory
N-periodic ka-SPGR
S(0)
Short repetition time TR
TE = TR/2
RF spoiling
…
…
S(1)
S(N-1)
S(0)
N-periodic k-space aliased SPGR (ka-SPGR)
0 (N-1)
- Gradient spoiling
Pete, Lally et al.(2022) [3]
Notes: Excitation frequently wit short TR, phase shift increment according to quadratic equation.
RF-spoiling., quadratic phase shift, the steady state signal S(n) yields N different steady-state.
Analytical solution
Each steady state signal has the T2* decay related component, called configuration state or F-states, weighted by phase modulation generated by RF spoiling.
N periodic RF spoiling will only allow us to split N F-states by redoing the phase modulation.
So gradient spoiling is applied to shift other F-states out side the k-space.

## Slide 9
Theory
N-periodic ka-SPGR
F = 0
Correct for
phase modulation
F = 1
F = 2
F = 3
F = 4
Shift
F-states
(image-space)
F0
F1
F2
F3
F4
n = 0
n = 1
n = 2
n = 3
n = 4
Reconstruction example:
5-Periodic ka-SPGR
F0
F1
F2
F3
F4
F-state magnitude
Time
Notes: Correct for phase modulation
Getting F-states in k-space, shifted by gradient spoiling
Move back to original position
Perform inverse F transform
With substitute the F value, acquiring T2* vlaue.
Motion robust

## Slide 10
Method Overview
Monte Carlo computer simulation
Optimised TR and N for N-periodic ka-SPGR
Practical phantom scanning experiment
Percentage bias
Bias and variation
T2* measurement efficiency
T2* mapping image

## Slide 11
Development of MRI T2* Mapping Model for N-Periodic ka-SPGR Sequence:
A Promising Technique for Parkinson’s Disease Biomarker Detection
Background introduction
Theory
N-periodic ka-SPGR
Computer simulation
Method
Result
Practical MRI scan
Method
Result
Conclusion and Limitations
Q & A
Overview…

## Slide 12
Computer Simulation
Method
T2* ground truth (13-53 ms)
TR
(2-10ms)
1000 measured T2*
Monte Carlo experiment data
T1 | 800 ms
T2 | 44 ms
Flip angle | 10
For each N in range 3-12

## Slide 13
Computer Simulation
Result
Average T2* percentage bias

## Slide 14
Computer Simulation
Result
Optimal ka-SPGR percentage bias and standard deviation
N = 12, TR = 6ms
N = 7, TR = 6ms

## Slide 15
Development of MRI T2* Mapping Model for N-Periodic ka-SPGR Sequence:
A Promising Technique for Parkinson’s Disease Biomarker Detection
Background introduction
Theory
N-periodic ka-SPGR
Computer simulation
Method
Result
Practical MRI scan
Method
Result
Conclusion and Limitations
Q & A
Overview…

## Slide 16
Practical MRI Scan
Method
Multi-echo SPGR
N-periodic ka-SPGR
Time
SI
TE1
TE2
TE3
TE
TE + TR
TEN
TE + 2TR
TE + (N-1)TR
……
……
……

## Slide 17
Practical MRI Scan
Result
Gold-standard
Quantitative T2* mapping images
7-periodic ka-SPGR
12-periodic ka-SPGR
Notes: Percentage error, middle line zero bias, red line +-10%
12 periodic has smaller std
All within +-10% bias
Effective T2* SNR
 7 periodic more efficient at low T2*

## Slide 18
Practical MRI Scan
Result
T2* percentage error
N = 7
N = 12
Effective T2* SNR
Notes: Percentage error, middle line zero bias, red line +-10%
12 periodic has smaller std
All within +-10% bias
Effective T2* SNR
 7 periodic more efficient at low T2*

## Slide 19
Development of MRI T2* Mapping Model for N-Periodic ka-SPGR Sequence:
A Promising Technique for Parkinson’s Disease Biomarker Detection
Background introduction
Theory
N-periodic ka-SPGR
Computer simulation
Method
Result
Practical MRI scan
Method
Result
Conclusion and Limitations
Q & A
Overview…

## Slide 20
Conclusion
Conclusion
Optimal ka-SPGR:
7-periodic ka-SPGR TR = 6ms
12-periodic ka-SPGR TR = 6ms
7-periodic is more efficient for PD detection.
12-periodic is more precise.

## Slide 21
Limitation and Further
Limitation
Phantom misalign with substantia nigra tissue property (T1).
Large amounts of in vivo scan experiments are required to statistically prove the method for clinical use.
Further
The optimal parameters can be used to test motion robustness in vivo.

## Slide 22: References:
Brammerloh, M., Morawski, M., Friedrich, I., Reinert, T., Lange, C., Pelicon, P., Vavpetič, P., Jankuhn, S., Jäger, C., Alkemade, A., Balesar, R., Pine, K., Gavriilidis, F., Trampel, R., Reimer, E., Arendt, T., Weiskopf, N., & Kirilina, E. (2021). Measuring the iron content of dopaminergic neurons in substantia nigra with MRI relaxometry. NeuroImage, 239. https://doi.org/10.1016/j.neuroimage.2021.118255
Holdsworth, S. J., Rahimi, M. S., Ni, W. W., Zaharchuk, G., & Moseley, M. E. (2016). Amplified magnetic resonance imaging (aMRI). Magnetic Resonance in Medicine, 75(6), 2245–2254. https://doi.org/10.1002/mrm.26142
Lally, P. J., Chiew, M., Matthews, P. M., Miller, K. L., & Bangerter, N. K. (n.d.). A motion-robust, short-TR alternative to multi-echo SPGR.
References

## Slide 31
n = 0
F = 0
Correct for
phase modulation
n = 1
n = 2
n = 3
n = 4
F = 1
F = 2
F = 3
F = 4
Shift
F-states
(image-space)
5-Periodic ka-SPGR
F0
F1
F2
F3
F4

## Slide 32
n = 0
F = 0
Correct for
phase modulation
n = 1
n = 2
n = 3
n = 4
F = 1
F = 2
F = 3
F = 4
Shift
F-states
(image-space)
5-Periodic ka-SPGR
F0
F1
F2
F3
F4